# 19” modular patch panel 1 HU

Type HD3

accepts modules for fiber optic, twisted pair and coaxial cables,

accepts up to

- 4 modules of 1 HU

- or 8 modules of 0.5 HU

- or a mixture of both.

Recessed mounting in two positions using 19” mounting brackets possible,

modules can be fixed in the panel in two positions (flush and recessed).

Conductive surface for improved bonding, multitude of bonding connections,

cable management bar can be installed and removed without any tools on the front.

Multi-purpose rail for easy cable routing, strain relief and installation of mounting brackets for M20/M25 cable splitters.

Features:

Depth:       235mm

Height:      1 HU

Material:    sheet steel

Colour:      black like RAL 9005

Manufacturer:  Telegärtner

Type:          HD3 modular patch panel 1 HU

Part No.:      H02030A4049