# RJ45 plug set T568B metal IP68 outdoor

Plug set TOC system suitable for industrial applications,

for generic cabling,

suitable for permanent outdoor use,

round mounting hole,

incl. field-installable RJ45 plug cat.6A,

operating temperature -40°C to +85°C,

ROHS compliant

RJ45 module:

- Category 6A

- suitable for 10 Gigabit Ethernet

- robust housing made of die-cast

- Insertion life:    min. 750 mating cycles

- Wire connection:   IPC

- Conductor:         AWG24/1 to AWG22/1;

AWG27/7 to AWG22/7

- Wire diameter:     1.0mm to 1.6mm

- Cable diameter:    4.0mm to 9.5mm

- Pin/pair assignment: T568B

- integrated cable strain relief

- integrated 360 degree shield contact

Housing

- Housing type:     TOC

- Mating:           screw coupling with

multiple sealings

- IP rating:        IP68

- Material:         nickel-plated brass

Manufacturer:       Telegärtner

Type:               TOC plug set IP68

MFP8 T568B Cat6A

Part no.:           100007387