19” 24 port module carrier 1 HU, black

Module carrier made of metal for 19” rack mount, with integrated cable management;

pre-installed bonding wire;

ports labeled 1 to 24 on panel;

latch of plug pointing upwards when connected on all ports;

Features:

Depth: ≤ 115 mm

Material of module carrier: sheet steel, powder coated

Color: black

Manufacturer: Telegärtner

Type: Module carrier AMJ/UMJ

Part No.: 100021497