19” 24 port module carrier 1 HU, black

Module carrier made of metal for 19” rack mount, with integrated cable management;

accepts up to 24 modules type AMJ-S and/or AMJ-K;

ports labeled 1 to 24 on panel;

Features:

Depth: ≤ 28 mm

Material of module carrier: sheet steel, ST1203,

powder coated

Color: black like RAL 9005

Manufacturer: Telegärtner

Type: Module carrier AMJ/UMJ

Part No.: 100021498