19” 48 port module carrier 1 HU

Module carrier made of metal for 19” rack mount, with integrated cable management;

cable management optimized for pre-terminated trunks of six cables;

cables fixed with hook and loop cable ties (included);

pre-installed bonding wire;

8 metal bezels on the front that accept 6 AMJ-S modules;

bezels fixed in front plate with screws;

ports in bezels labeled 1 to 6;

ports labeled 1 to 48 on module carrier;

latch of plug pointing upwards when connected on all ports;

Features:

Depth: ≤ 129 mm

Material of bezels: galvanized sheet steel

Manufacturer: Telegärtner

Type: 19” 48 port module carrier

Part No.: 100021503