19” 48 port module carrier 1.5 HU, black

Module carrier made of metal for 19” rack mount, with integrated cable management;

pre-installed bonding wire;

ports labeled 1 to 48 on panel;

latch of plug pointing upwards when connected on all ports;

Features:

Depth: ≤ 129 mm

Material of module carrier: sheet steel, powder coated

Color: black like RAL 9005

Manufacturer: Telegärtner

Type: Module carrier 1.5 HU for 48 AMJ/UMJ

Part No.: 100021507